## Slide 1: Chapter 6 Rural Energy Supply and Photovoltaic Devices

## Slide 2: Energy Needs of the Rural Community
More than 2 billion people still cook with traditional solid fuels and lack access to electricity
Living standard can be significantly improved by promoting a shift from direct combustion of biomass fuels (dung, crop residues, and fuelwood) or coal in inefficient and polluting stoves to clean, efficient liquid or gaseous fuels and electricity.
Although much of the world’s rural population has no access to electricity generation, many have small battery operated devices such as cell phone, radios and flashlights

## Slide 3: Impact of Energy Supply on Life Style of Rural Community
The poor rural community rely primarily on human and animal power for mechanical tasks, such as agricultural activities and transport, and on the direct combustion of biomass (wood, crop residues, dung) for activities that require heat or lighting.
Large amounts of human energy are spent gathering fuelwood in poor rural community, and the burden tends to fall more heavily on women and children.

## Slide 4: Rural Electrification
The Centralized Approach Has Not Been Successful in Poor Rural Community
  Efforts (largely in China and India) between 1970-90 has made minimal impact on the number of people without access to electricity

## Slide 5: Rural Electrification
The Centralized Approach Has Not Been Successful in Poor Rural Community
  Rural area faces high transmission and distribution costs, for several reasons:
    The capacity of power lines is inefficiently used because of low population.
    Densities and demand levels are low.
    Villages may have very peaky (undiversified) demand profiles.
    Line losses tend to be high.
    In addition, incremental extension of the grid (rather than extension optimized to minimize losses) causes lines to be strung haphazardly, resulting in greater losses.

## Slide 6: Rural Electrification
The Decentralized Approach is Attractive but Faces Many Barriers
  Possible decentralized approaches
    diesel-engine generator sets,
    small-scale hydropower,
    photovoltaics,
    wind,
    small-scale biopower using producer gas.

## Slide 7: Rural Electrification
The Decentralized Approach is Attractive but Faces Many Barriers
  Barriers of decentralized approaches
    diesel-engine generator sets,
      The high costs of maintenance and of transporting diesel fuel and lubricating oil to remote places make electricity fairly expensive
      Local people generally don’t have the technical skill or the availability of parts for sustainable operation

## Slide 8: Rural Electrification
The Decentralized Approach is Attractive but Faces Many Barriers
  Barriers of decentralized approaches
    Small scale hydropower,
      The potential use of the system is limited by the availability of water resources
      The run-of-river plants (typical small scale design) generally lacks the reservoir capacity to store water.
      Severe seasonal variation on power output can occur, depending on site hydrology
      Long-term viability of small-scale hydropower may depend on backup electricity

## Slide 9: Rural Electrification
The Decentralized Approach is Attractive but Faces Many Barriers
  Barriers of decentralized approaches
    Wind
      Household-scale wind turbines (50-200 watts) have been implemented successfully in Inner Mongolia for more than 500,000 people, providing electricity for lighting, radios, television and small appliances
      The success of the Chinese programme was achieved through careful planning and the creation of an effective regional and local infrastructure for manufacturing, sales, maintenance, and training.
      Replicating the programme would require enough institutional capacity to support such ventures.

## Slide 10: Rural Electrification
The Decentralized Approach is Attractive but Faces Many Barriers
  Barriers of decentralized approaches
    Small scale biopower using producer gas
      The objective is to use locally available biomass as fuel instead of imported oil into the region, thus lower the electricity generation costs than with diesel
      Significant technical advances are required to make the approach viable
        a pilot oil is needed to assist ignition in the engine
        Special gasifier is needed to make sure that the producer gas meets the higher standard for reciprocating engine operation than for cooking or heating applications (e.g. to prevent tar formation at the engines intake valve)

## Slide 11: Rural Electrification
The Decentralized Approach is Attractive but Faces Many Barriers
  Barriers of decentralized approaches
    Photovoltaics
      Photovoltaic technology is cost-effective in providing electricity to rural areas at the very smallest scales (typically less than 100 watts) in areas with no access to grid electricity
      it can be used for household lighting, cell phone, radios, and television sets, and to refrigerate medicines at rural clinics.
      The most significant barrier, until recently, is cost

## Slide 12: Photovoltaics
An Effective Decentralized Approach to for Energy Supply to Poor Rural Community
  The cost of solar cells/solar panels have gone down significantly (e.g. $30/10W panel from eBay)
  Components for a simple solar electric power system are designed to be modular and low cost
    controllers, connecters, etc. are produced independently and inexpensively
    local residents with little education can learn to operate and maintain the system
    The “Rwanda” unit cost less than $100/unit

## Slide 13: Fundamentals of Photovoltaic Systems
Photovoltaic Devices
  A layer of silicon is deposited on a metal backing
  Impurity is introduced in two stages so that a p-layer is introduced adjacent to the backing and an n-layer on top
  Electrical power is created when
    energy from the sun passes through the n-layer and liberates electrons within the p-layer
    Electrons move to the n-layer, where they are collected by the thin metal strip on the surface
    The external load is connected to these strips and the backing

## Slide 14: Fundamentals of Photovoltaic Systems
Solar Cells
  No maintenance is required, although the surface on which the light shines must be kept clean
  A working cell will work for a very long time – on the order of 20 years. Cell temperature should be kept below about 140 F
  Under maximum sunlight (no clouds and facing the sun directly), a typical solar cell generates 0.56 V and produces about 0.28 A per square inch of the cell. Accounting for internal loss of about 20 %, 0.45 V and 0.224 A are actually generated.

## Slide 15: Fundamentals of Photovoltaic Systems
Panels of Solar Cells
  A typical solar cell is close to circular, about 4 in in diameter
  The output current in full direct sunlight is about 2.8 A and the output power is about 1.26 W
  Cells are connected in series and parallel to form solar panel

## Slide 16: Fundamentals of Photovoltaic Systems
Electrical System Using Solar Cells
  Effective maximum operating temperature is 250 F (to ensure no damage to silicon cell and prevent melting of adhesive, etc.), so the design must ensure that the cell temperature during operation is less than the maximum
  Most PV systems include batteries as storage. A simple voltage regulator might also be included in the circuit to prevent overcharging the battery.
  A diode (allowing current flow only in one direction) is included to prevent the battery current from draining back into the solar cells when they are dark.